## Tabelle1
DAQ Time (Time of Acquisition) [s] | Sample Time [ms] | Frequency (f_DAQ) [kHz] | No. of Samples | Repetition | Rept | Measured Time for DAQ (Tav) [ms] | Loop DAQ Timing [ms] | Predicted Time [ms] to Finalize DAQ | Comments | Means of Measured Time for DAQ [ms] | Standard deviation 1 | Means of Loop DAQ Timing [ms] | Standard deviation 2
5 | 0.8 | 1.2488 | 6244 | 0 | t0/f0/ 0 | 5263 | 0.84833 | 5000.04 |  | 5222.5 | 13.6107 | 0.83404 | 0.0047723
|  |  |  | 1 | t0/f0/ 1 | 5223 | 0.83325
|  |  |  | 2 | t0/f0/ 2 | 5217 | 0.83229
|  |  |  | 3 | t0/f0/ 3 | 5218 | 0.83245
|  |  |  | 4 | t0/f0/ 4 | 5217 | 0.83229
|  |  |  | 5 | t0/f0/ 5 | 5218 | 0.83245 | [6 empty] | 1852.5
|  |  |  | 6 | t0/f0/ 6 | 5217 | 0.83229
|  |  |  | 7 | t0/f0/ 7 | 5218 | 0.83245
|  |  |  | 8 | t0/f0/ 8 | 5217 | 0.83229
|  |  |  | 9 | t0/f0/ 9 | 5217 | 0.83229
5 | 1 | 1.0039 | 5020 | 0 | t0/f1/ 0 | 5312 | 1.0542 | 5000.35 |  | 5181.6 | 43.9231 | 1.0282 | 0.0087494
|  |  |  | 1 | t0/f1/ 1 | 5181 | 1.0281
|  |  |  | 2 | t0/f1/ 2 | 5172 | 1.0263
|  |  |  | 3 | t0/f1/ 3 | 5175 | 1.0269
|  |  |  | 4 | t0/f1/ 4 | 5163 | 1.0245
|  |  |  | 5 | t0/f1/ 5 | 5162 | 1.0243
|  |  |  | 6 | t0/f1/ 6 | 5163 | 1.0245
|  |  |  | 7 | t0/f1/ 7 | 5162 | 1.0243
|  |  |  | 8 | t0/f1/ 8 | 5163 | 1.0245
|  |  |  | 9 | t0/f1/ 9 | 5163 | 1.0245
5 | 1.6 | 0.6244 | 3122 | 0 | t0/f2/ 0 | 5076 | 1.6197 | 5000.04 |  | 5077.3 | 2.6096 | 1.6198 | 0.00082753
|  |  |  | 1 | t0/f2/ 1 | 5077 | 1.6197
|  |  |  | 2 | t0/f2/ 2 | 5077 | 1.6197
|  |  |  | 3 | t0/f2/ 3 | 5076 | 1.6194
|  |  |  | 4 | t0/f2/ 4 | 5076 | 1.6194
|  |  |  | 5 | t0/f2/ 5 | 5076 | 1.6194
|  |  |  | 6 | t0/f2/ 6 | 5077 | 1.6197
|  |  |  | 7 | t0/f2/ 7 | 5076 | 1.6194
|  |  |  | 8 | t0/f2/ 8 | 5085 | 1.6222
|  |  |  | 9 | t0/f2/ 9 | 5077 | 1.6197
5 | 3.2 | 0.31315 | 1566 | 0 | t0/f3/ 0 | 5034 | 3.2019 | 5000.76 |  | 5043.8 | 28.8021 | 3.2082 | 0.018404
|  |  |  | 1 | t0/f3/ 1 | 5033 | 3.2013
|  |  |  | 2 | t0/f3/ 2 | 5040 | 3.2058
|  |  |  | 3 | t0/f3/ 3 | 5034 | 3.2019
|  |  |  | 4 | t0/f3/ 4 | 5033 | 3.2013
|  |  |  | 5 | t0/f3/ 5 | 5033 | 3.2013
|  |  |  | 6 | t0/f3/ 6 | 5033 | 3.2013
|  |  |  | 7 | t0/f3/ 7 | 5034 | 3.2019
|  |  |  | 8 | t0/f3/ 8 | 5034 | 3.2019
|  |  |  | 9 | t0/f3/ 9 | 5130 | 3.2633
5 | 6.4 | 0.15634 | 782 | 0 | t0/f4/ 0 | 5066 | 6.452 | 5002.01 |  | 5066 | 0 | 6.4524 | 0.00059115
|  |  |  | 1 | t0/f4/ 1 | 5066 | 6.452
|  |  |  | 2 | t0/f4/ 2 | 5066 | 6.4533
|  |  |  | 3 | t0/f4/ 3 | 5066 | 6.4533
|  |  |  | 4 | t0/f4/ 4 | 5066 | 6.452
|  |  |  | 5 | t0/f4/ 5 | 5066 | 6.452
|  |  |  | 6 | t0/f4/ 6 | 5066 | 6.452
|  |  |  | 7 | t0/f4/ 7 | 5066 | 6.452
|  |  |  | 8 | t0/f4/ 8 | 5066 | 6.4533
|  |  |  | 9 | t0/f4/ 9 | 5066 | 6.452
10 | 0.8 | 1.2488 | 12488 | 0 | t1/f0/ 0 | 11094 | 0.88676 | 10000.1 |  | 11378.1 | 655.7662 | 0.90952 | 0.0525
|  |  |  | 1 | t1/f0/ 1 | 12185 | 0.97405
|  |  |  | 2 | t1/f0/ 2 | 11982 | 0.95788
|  |  |  | 3 | t1/f0/ 3 | 11716 | 0.93665
|  |  |  | 4 | t1/f0/ 4 | 10557 | 0.84384
|  |  |  | 5 | t1/f0/ 5 | 10694 | 0.85473
|  |  |  | 6 | t1/f0/ 6 | 10793 | 0.86266
|  |  |  | 7 | t1/f0/ 7 | 10596 | 0.84688
|  |  |  | 8 | t1/f0/ 8 | 12047 | 0.96308
|  |  |  | 9 | t1/f0/ 9 | 12117 | 0.96869
10 | 1 | 1.0039 | 10039 | 0 | t1/f1/ 0 | 10440 | 1.038 | 9999.7 |  | 10758.9 | 473.6137 | 1.0697 | 0.047194
|  |  |  | 1 | t1/f1/ 1 | 10458 | 1.0397
|  |  |  | 2 | t1/f1/ 2 | 10556 | 1.0495
|  |  |  | 3 | t1/f1/ 3 | 10307 | 1.0247
|  |  |  | 4 | t1/f1/ 4 | 10976 | 1.0914
|  |  |  | 5 | t1/f1/ 5 | 10395 | 1.0335
|  |  |  | 6 | t1/f1/ 6 | 10474 | 1.0413
|  |  |  | 7 | t1/f1/ 7 | 11350 | 1.1287
|  |  |  | 8 | t1/f1/ 8 | 11852 | 1.1786
|  |  |  | 9 | t1/f1/ 9 | 10781 | 1.0719
10 | 1.6 | 0.6244 | 6244 | 0 | t1/f2/ 0 | 10134 | 1.6197 | 10000.1 |  | 10289.7 | 229.394 | 1.6444 | 0.03657
|  |  |  | 1 | t1/f2/ 1 | 10133 | 1.6193
|  |  |  | 2 | t1/f2/ 2 | 10131 | 1.6193
|  |  |  | 3 | t1/f2/ 3 | 10144 | 1.6213
|  |  |  | 4 | t1/f2/ 4 | 10136 | 1.6199
|  |  |  | 5 | t1/f2/ 5 | 10132 | 1.6194
|  |  |  | 6 | t1/f2/ 6 | 10187 | 1.6282
|  |  |  | 7 | t1/f2/ 7 | 10621 | 1.6979
|  |  |  | 8 | t1/f2/ 8 | 10733 | 1.7158
|  |  |  | 9 | t1/f2/ 9 | 10546 | 1.6833
10 | 3.2 | 0.31315 | 3132 | 0 | t1/f3/ 0 | 10045 | 3.2006 | 10001.5 |  | 10022.5 | 7.5399 | 3.1936 | 0.0023239
|  |  |  | 1 | t1/f3/ 1 | 10021 | 3.1936
|  |  |  | 2 | t1/f3/ 2 | 10021 | 3.1929
|  |  |  | 3 | t1/f3/ 3 | 10019 | 3.1926
|  |  |  | 4 | t1/f3/ 4 | 10020 | 3.1929
|  |  |  | 5 | t1/f3/ 5 | 10021 | 3.1929
|  |  |  | 6 | t1/f3/ 6 | 10019 | 3.1926
|  |  |  | 7 | t1/f3/ 7 | 10020 | 3.1929
|  |  |  | 8 | t1/f3/ 8 | 10020 | 3.1929
|  |  |  | 9 | t1/f3/ 9 | 10019 | 3.1926
10 | 6.4 | 0.15634 | 1563 | 0 | t1/f4/ 0 | 10012 | 6.3931 | 9997.62 |  | 10020 | 18.1328 | 6.3977 | 0.01181
|  |  |  | 1 | t1/f4/ 1 | 10011 | 6.3925
|  |  |  | 2 | t1/f4/ 2 | 10012 | 6.3931
|  |  |  | 3 | t1/f4/ 3 | 10012 | 6.3931
|  |  |  | 4 | t1/f4/ 4 | 10038 | 6.4091
|  |  |  | 5 | t1/f4/ 5 | 10011 | 6.3925
|  |  |  | 6 | t1/f4/ 6 | 10069 | 6.4296
|  |  |  | 7 | t1/f4/ 7 | 10011 | 6.3884
|  |  |  | 8 | t1/f4/ 8 | 10012 | 6.3931
|  |  |  | 9 | t1/f4/ 9 | 10012 | 6.3931
20 | 0.8 | 1.2488 | 24976 | 0 | t2/f0/ 0 | 22682 | 0.90735 | 20000.1 |  | 21669.5 | 522.8601 | 0.86681 | 0.020935
|  |  |  | 1 | t2/f0/ 1 | 21475 | 0.85902
|  |  |  | 2 | t2/f0/ 2 | 21838 | 0.87355
|  |  |  | 3 | t2/f0/ 3 | 21453 | 0.85814
|  |  |  | 4 | t2/f0/ 4 | 22641 | 0.90571
|  |  |  | 5 | t2/f0/ 5 | 21233 | 0.84933
|  |  |  | 6 | t2/f0/ 6 | 21203 | 0.84813
|  |  |  | 7 | t2/f0/ 7 | 21390 | 0.85562
|  |  |  | 8 | t2/f0/ 8 | 21458 | 0.85834
|  |  |  | 9 | t2/f0/ 9 | 21322 | 0.85289
20 | 1 | 1.0039 | 20079 | 0 | t2/f1/ 0 | 21071 | 1.0484 | 20000.4 |  | 21573.4 | 740.8634 | 1.0734 | 0.036885
|  |  |  | 1 | t2/f1/ 1 | 20603 | 1.0251
|  |  |  | 2 | t2/f1/ 2 | 20604 | 1.0252
|  |  |  | 3 | t2/f1/ 3 | 22682 | 1.1285
|  |  |  | 4 | t2/f1/ 4 | 22240 | 1.1066
|  |  |  | 5 | t2/f1/ 5 | 21859 | 1.0877
|  |  |  | 6 | t2/f1/ 6 | 21913 | 1.0903
|  |  |  | 7 | t2/f1/ 7 | 22582 | 1.1237
|  |  |  | 8 | t2/f1/ 8 | 21097 | 1.0497
|  |  |  | 9 | t2/f1/ 9 | 21083 | 1.0491
20 | 1.6 | 0.6244 | 12488 | 0 | t2/f2/ 0 | 20434 | 1.6347 | 20000.1 |  | 20480.8 | 168.9946 | 1.6384 | 0.013544
|  |  |  | 1 | t2/f2/ 1 | 20790 | 1.6632
|  |  |  | 2 | t2/f2/ 2 | 20292 | 1.6233
|  |  |  | 3 | t2/f2/ 3 | 20359 | 1.6286
|  |  |  | 4 | t2/f2/ 4 | 20651 | 1.6521
|  |  |  | 5 | t2/f2/ 5 | 20603 | 1.6482
|  |  |  | 6 | t2/f2/ 6 | 20576 | 1.646
|  |  |  | 7 | t2/f2/ 7 | 20539 | 1.6431
|  |  |  | 8 | t2/f2/ 8 | 20313 | 1.625
|  |  |  | 9 | t2/f2/ 9 | 20251 | 1.6201
20 | 3.2 | 0.31315 | 6263 | 0 | t2/f3/ 0 | 20059 | 3.1996 | 19999.8 |  | 20033.8 | 71.4672 | 3.1956 | 0.011406
|  |  |  | 1 | t2/f3/ 1 | 19989 | 3.1884
|  |  |  | 2 | t2/f3/ 2 | 20215 | 3.2245
|  |  |  | 3 | t2/f3/ 3 | 19995 | 3.1894
|  |  |  | 4 | t2/f3/ 4 | 19992 | 3.1889
|  |  |  | 5 | t2/f3/ 5 | 19989 | 3.1884
|  |  |  | 6 | t2/f3/ 6 | 19989 | 3.1884
|  |  |  | 7 | t2/f3/ 7 | 19989 | 3.1883
|  |  |  | 8 | t2/f3/ 8 | 20110 | 3.2076
|  |  |  | 9 | t2/f3/ 9 | 20011 | 3.1919
20 | 6.4 | 0.15634 | 3127 | 0 | t2/f4/ 0 | 19916 | 6.3628 |  |  | 19952.4 | 47.2614 | 6.3743 | 0.015061
|  |  |  | 1 | t2/f4/ 1 | 19916 | 6.3628 | 20001.6
|  |  |  | 2 | t2/f4/ 2 | 19949 | 6.373
|  |  |  | 3 | t2/f4/ 3 | 19916 | 6.3628
|  |  |  | 4 | t2/f4/ 4 | 19954 | 6.3749
|  |  |  | 5 | t2/f4/ 5 | 19941 | 6.3708
|  |  |  | 6 | t2/f4/ 6 | 20043 | 6.4031
|  |  |  | 7 | t2/f4/ 7 | 19917 | 6.3631
|  |  |  | 8 | t2/f4/ 8 | 19929 | 6.3669
|  |  |  | 9 | t2/f4/ 9 | 20043 | 6.4034
30 | 0.8 | 1.2488 | 37464 | 0 | t3/f0/ 0 | 46799 | 1.2486 | 30000.2 |  | 41633.8 | 2524.3472 | 1.1108 | 0.067353
|  |  |  | 1 | t3/f0/ 1 | 45722 | 1.2197
|  |  |  | 2 | t3/f0/ 2 | 42032 | 1.1214
|  |  |  | 3 | t3/f0/ 3 | 42405 | 1.1314
|  |  |  | 4 | t3/f0/ 4 | 39718 | 1.0596
|  |  |  | 5 | t3/f0/ 5 | 40997 | 1.0938
|  |  |  | 6 | t3/f0/ 6 | 39678 | 1.0586
|  |  |  | 7 | t3/f0/ 7 | 39726 | 1.0598
|  |  |  | 8 | t3/f0/ 8 | 39559 | 1.0554
|  |  |  | 9 | t3/f0/ 9 | 39702 | 1.0592
30 | 1 | 1.0039 | 30118 | 0 | t3/f1/ 0 | 30926 | 1.0262 | 30000.1 |  | 30960.8 | 64.2803 | 1.0273 | 0.0021334
|  |  |  | 1 | t3/f1/ 1 | 30905 | 1.0255
|  |  |  | 2 | t3/f1/ 2 | 30933 | 1.0264
|  |  |  | 3 | t3/f1/ 3 | 30911 | 1.0257
|  |  |  | 4 | t3/f1/ 4 | 30956 | 1.0272
|  |  |  | 5 | t3/f1/ 5 | 30976 | 1.0278
|  |  |  | 6 | t3/f1/ 6 | 30933 | 1.0264
|  |  |  | 7 | t3/f1/ 7 | 30937 | 1.0265
|  |  |  | 8 | t3/f1/ 8 | 30994 | 1.0284
|  |  |  | 9 | t3/f1/ 9 | 31137 | 1.0332
30 | 1.6 | 0.6244 | 18732 | 0 | t3/f2/ 0 | 30387 | 1.6211 | 30000.2 |  | 30373.1 | 7.3953 | 1.6204 | 0.0003949
|  |  |  | 1 | t3/f2/ 1 | 30369 | 1.6201
|  |  |  | 2 | t3/f2/ 2 | 30369 | 1.6201
|  |  |  | 3 | t3/f2/ 3 | 30380 | 1.6207
|  |  |  | 4 | t3/f2/ 4 | 30367 | 1.62
|  |  |  | 5 | t3/f2/ 5 | 30382 | 1.6208
|  |  |  | 6 | t3/f2/ 6 | 30373 | 1.6204
|  |  |  | 7 | t3/f2/ 7 | 30375 | 1.6205
|  |  |  | 8 | t3/f2/ 8 | 30366 | 1.62
|  |  |  | 9 | t3/f2/ 9 | 30363 | 1.6198
30 | 3.2 | 0.31315 | 9395 | 0 | t3/f3/ 0 | 29960 | 3.1868 | 30001.4 |  | 29966.7 | 18.4394 | 3.1863 | 0.00092045
|  |  |  | 1 | t3/f3/ 1 | 29960 | 3.1868
|  |  |  | 2 | t3/f3/ 2 | 29960 | 3.1868
|  |  |  | 3 | t3/f3/ 3 | 29961 | 3.1869
|  |  |  | 4 | t3/f3/ 4 | 29961 | 3.1869
|  |  |  | 5 | t3/f3/ 5 | 29961 | 3.1848
|  |  |  | 6 | t3/f3/ 6 | 30022 | 3.1844
|  |  |  | 7 | t3/f3/ 7 | 29960 | 3.186
|  |  |  | 8 | t3/f3/ 8 | 29961 | 3.1869
|  |  |  | 9 | t3/f3/ 9 | 29961 | 3.1869
30 | 6.4 | 0.15634 | 4690 | 0 | t3/f4/ 0 | 29815 | 6.3527 | 29999.3 |  | 29815.9 | 3.7269 | 6.353 | 0.00084905
|  |  |  | 1 | t3/f4/ 1 | 29814 | 6.3525
|  |  |  | 2 | t3/f4/ 2 | 29815 | 6.3527
|  |  |  | 3 | t3/f4/ 3 | 29815 | 6.3527
|  |  |  | 4 | t3/f4/ 4 | 29827 | 6.3555
|  |  |  | 5 | t3/f4/ 5 | 29814 | 6.3525
|  |  |  | 6 | t3/f4/ 6 | 29814 | 6.3527
|  |  |  | 7 | t3/f4/ 7 | 29815 | 6.3527
|  |  |  | 8 | t3/f4/ 8 | 29815 | 6.3527
|  |  |  | 9 | t3/f4/ 9 | 29815 | 6.3527
40 | 0.8 | 1.2488 | 49952 | 0 | t4/f0/ 0 | 69400 | 1.3889 | 40000.3 |  | 69085.3 | 477.0285 | 1.3828 | 0.0092769
|  |  |  | 1 | t4/f0/ 1 | 69246 | 1.3858
|  |  |  | 2 | t4/f0/ 2 | 70203 | 1.405
|  |  |  | 3 | t4/f0/ 3 | 68323 | 1.3691 |  | (Restart after an appcrash)
|  |  |  | 4 | t4/f0/ 4 | 68952 | 1.38
|  |  |  | 5 | t4/f0/ 5 | 68820 | 1.3773
|  |  |  | 6 | t4/f0/ 6 | 68832 | 1.3776
|  |  |  | 7 | t4/f0/ 7 | 69346 | 1.3878
|  |  |  | 8 | t4/f0/ 8 | 68907 | 1.3791
|  |  |  | 9 | t4/f0/ 9 | 68824 | 1.3774
40 | 1 | 1.0039 | 40157 | 0 | t4/f1/ 0 | 45289 | 1.1273 | 39999.8 |  | 47722.5 | 3604.1448 | 1.1879 | 0.089755
|  |  |  | 1 | t4/f1/ 1 | 45277 | 1.127
|  |  |  | 2 | t4/f1/ 2 | 45611 | 1.1353
|  |  |  | 3 | t4/f1/ 3 | 51696 | 1.2868
|  |  |  | 4 | t4/f1/ 4 | 52925 | 1.3175
|  |  |  | 5 | t4/f1/ 5 | 45216 | 1.1255
|  |  |  | 6 | t4/f1/ 6 | 45289 | 1.1273
|  |  |  | 7 | t4/f1/ 7 | 46107 | 1.1477
|  |  |  | 8 | t4/f1/ 8 | 45095 | 1.1225
|  |  |  | 9 | t4/f1/ 9 | 54720 | 1.3622
40 | 1.6 | 0.6244 | 24976 | 0 | t4/f2/ 0 | 41082 | 1.6441 | 40000.3 |  | 40856.1 | 219.831 | 1.635 | 0.0087952
|  |  |  | 1 | t4/f2/ 1 | 40533 | 1.6221
|  |  |  | 2 | t4/f2/ 2 | 40566 | 1.6234
|  |  |  | 3 | t4/f2/ 3 | 40880 | 1.636
|  |  |  | 4 | t4/f2/ 4 | 41209 | 1.6491
|  |  |  | 5 | t4/f2/ 5 | 41058 | 1.6431
|  |  |  | 6 | t4/f2/ 6 | 40772 | 1.6317
|  |  |  | 7 | t4/f2/ 7 | 40659 | 1.6272
|  |  |  | 8 | t4/f2/ 8 | 41019 | 1.6415
|  |  |  | 9 | t4/f2/ 9 | 40783 | 1.6321
40 | 3.2 | 0.31315 | 12526 | 0 | t4/f3/ 0 | 40115 | 3.201 | 39999.7 |  | 40090.9 | 185.4516 | 3.199 | 0.014802
|  |  |  | 1 | t4/f3/ 1 | 39953 | 3.188
|  |  |  | 2 | t4/f3/ 2 | 40557 | 3.2363
|  |  |  | 3 | t4/f3/ 3 | 40097 | 3.1997
|  |  |  | 4 | t4/f3/ 4 | 40191 | 3.207
|  |  |  | 5 | t4/f3/ 5 | 39930 | 3.1862
|  |  |  | 6 | t4/f3/ 6 | 40004 | 3.1921
|  |  |  | 7 | t4/f3/ 7 | 40201 | 3.2077
|  |  |  | 8 | t4/f3/ 8 | 39931 | 3.1863 |  | (No firefox running)
|  |  |  | 9 | t4/f3/ 9 | 39930 | 3.1862
40 | 6.4 | 0.15634 | 6253 | 0 | t4/f4/ 0 | 39713 | 6.3479 | 39996.9 |  | 39716.3 | 8.1492 | 6.3482 | 0.001392
|  |  |  | 1 | t4/f4/ 1 | 39712 | 6.3477
|  |  |  | 2 | t4/f4/ 2 | 39712 | 6.3477
|  |  |  | 3 | t4/f4/ 3 | 39713 | 6.3463
|  |  |  | 4 | t4/f4/ 4 | 39712 | 6.3477
|  |  |  | 5 | t4/f4/ 5 | 39713 | 6.3479
|  |  |  | 6 | t4/f4/ 6 | 39713 | 6.3479
|  |  |  | 7 | t4/f4/ 7 | 39712 | 6.3477
|  |  |  | 8 | t4/f4/ 8 | 39725 | 6.3496
|  |  |  | 9 | t4/f4/ 9 | 39738 | 6.3517
50 | 0.8 | 1.2488 | 62440 | 0 | t5/f0/ 0 | 112379 | 1.7995 | 50000.4 |  | 109868.2 | 2324.6158 | 1.76 | 0.037492
|  |  |  | 1 | t5/f0/ 1 | 107246 | 1.7173
|  |  |  | 2 | t5/f0/ 2 | 109900 | 1.7616 |  | (Restart after an appcrash)
|  |  |  | 3 | t5/f0/ 3 | 106872 | 1.7113
|  |  |  | 4 | t5/f0/ 4 | 110083 | 1.7645 |  | (Restart after an appcrash)
|  |  |  | 5 | t5/f0/ 5 | 109460 | 1.7527
|  |  |  | 6 | t5/f0/ 6 | 115053 | 1.8441
|  |  |  | 7 | t5/f0/ 7 | 110055 | 1.7619 |  | (Restart after an appcrash)
|  |  |  | 8 | t5/f0/ 8 | 107690 | 1.7262 |  | (Restart after an appcrash)
|  |  |  | 9 | t5/f0/ 9 | 109944 | 1.7605
50 | 1 | 1.0039 | 50196 | 0 | t5/f1/ 0 | 69830 | 1.3925 | 49999.5 |  | 70335 | 934.7789 | 1.4012 | 0.018389
|  |  |  | 1 | t5/f1/ 1 | 69628 | 1.3867
|  |  |  | 2 | t5/f1/ 2 | 69629 | 1.3867
|  |  |  | 3 | t5/f1/ 3 | 69590 | 1.3878 |  | (Restart after an appcrash)
|  |  |  | 4 | t5/f1/ 4 | 71407 | 1.4222
|  |  |  | 5 | t5/f1/ 5 | 70097 | 1.3961
|  |  |  | 6 | t5/f1/ 6 | 70596 | 1.406
|  |  |  | 7 | t5/f1/ 7 | 69987 | 1.3939
|  |  |  | 8 | t5/f1/ 8 | 72653 | 1.447
|  |  |  | 9 | t5/f1/ 9 | 69933 | 1.3928
50 | 1.6 | 0.6244 | 31220 | 0 | t5/f2/ 0 | 50715 | 1.6238 | 50000.4 |  | 50673.3 | 141.6051 | 1.6225 | 0.004544
|  |  |  | 1 | t5/f2/ 1 | 50614 | 1.6205
|  |  |  | 2 | t5/f2/ 2 | 50610 | 1.6205
|  |  |  | 3 | t5/f2/ 3 | 50594 | 1.6199
|  |  |  | 4 | t5/f2/ 4 | 50594 | 1.6199
|  |  |  | 5 | t5/f2/ 5 | 51073 | 1.6353
|  |  |  | 6 | t5/f2/ 6 | 50730 | 1.6243
|  |  |  | 7 | t5/f2/ 7 | 50599 | 1.6201
|  |  |  | 8 | t5/f2/ 8 | 50605 | 1.6203
|  |  |  | 9 | t5/f2/ 9 | 50599 | 1.6201
50 | 3.2 | 0.31315 | 15658 | 0 | t5/f3/ 0 | 50094 | 3.1979 | 50001.2 |  | 49934.8 | 58.7976 | 3.1878 | 0.0037494
|  |  |  | 1 | t5/f3/ 1 | 49922 | 3.187
|  |  |  | 2 | t5/f3/ 2 | 49903 | 3.1857
|  |  |  | 3 | t5/f3/ 3 | 49903 | 3.1857
|  |  |  | 4 | t5/f3/ 4 | 49903 | 3.1857
|  |  |  | 5 | t5/f3/ 5 | 49989 | 3.1912
|  |  |  | 6 | t5/f3/ 6 | 49903 | 3.1857
|  |  |  | 7 | t5/f3/ 7 | 49924 | 3.1871
|  |  |  | 8 | t5/f3/ 8 | 49905 | 3.1859
|  |  |  | 9 | t5/f3/ 9 | 49902 | 3.1857
50 | 6.4 | 0.15634 | 7817 | 0 | t5/f4/ 0 | 49616 | 6.3447 | 50000.9 |  | 49676.9 | 172.1322 | 6.3525 | 0.022018
|  |  |  | 1 | t5/f4/ 1 | 49616 | 6.3447
|  |  |  | 2 | t5/f4/ 2 | 49617 | 6.3448
|  |  |  | 3 | t5/f4/ 3 | 49617 | 6.3448
|  |  |  | 4 | t5/f4/ 4 | 50193 | 6.4185
|  |  |  | 5 | t5/f4/ 5 | 49617 | 6.3448
|  |  |  | 6 | t5/f4/ 6 | 49617 | 6.3449
|  |  |  | 7 | t5/f4/ 7 | 49636 | 6.3472
|  |  |  | 8 | t5/f4/ 8 | 49617 | 6.3448
|  |  |  | 9 | t5/f4/ 9 | 49623 | 6.3456
60 | 0.8 | 1.2488 | 74927 | 0 | t6/f0/ 0 | 150042 | 2.0022 | 59999.6
|  |  |  | 1 | t6/f0/ 1 | 153438 | 2.0493 | (Restart after an appcrash)
|  |  |  | 2 | t6/f0/ 2
|  |  |  | 3 | t6/f0/ 3
|  |  |  | 4 | t6/f0/ 4
|  |  |  | 5 | t6/f0/ 5
|  |  |  | 6 | t6/f0/ 6
|  |  |  | 7 | t6/f0/ 7
|  |  |  | 8 | t6/f0/ 8
|  |  |  | 9 | t6/f0/ 9
60 | 1 |  |  | 0 | t6/f1/ 0
|  |  |  | 1 | t6/f1/ 1
|  |  |  | 2 | t6/f1/ 2
|  |  |  | 3 | t6/f1/ 3
|  |  |  | 4 | t6/f1/ 4
|  |  |  | 5 | t6/f1/ 5
|  |  |  | 6 | t6/f1/ 6
|  |  |  | 7 | t6/f1/ 7
|  |  |  | 8 | t6/f1/ 8
|  |  |  | 9 | t6/f1/ 9
60 | 1.6 |  |  | 0 | t6/f2/ 0
|  |  |  | 1 | t6/f2/ 1
|  |  |  | 2 | t6/f2/ 2
|  |  |  | 3 | t6/f2/ 3
|  |  |  | 4 | t6/f2/ 4
|  |  |  | 5 | t6/f2/ 5
|  |  |  | 6 | t6/f2/ 6
|  |  |  | 7 | t6/f2/ 7
|  |  |  | 8 | t6/f2/ 8
|  |  |  | 9 | t6/f2/ 9
60 | 3.2 |  |  | 0 | t6/f3/ 0
|  |  |  | 1 | t6/f3/ 1
|  |  |  | 2 | t6/f3/ 2
|  |  |  | 3 | t6/f3/ 3
|  |  |  | 4 | t6/f3/ 4
|  |  |  | 5 | t6/f3/ 5
|  |  |  | 6 | t6/f3/ 6
|  |  |  | 7 | t6/f3/ 7
|  |  |  | 8 | t6/f3/ 8
|  |  |  | 9 | t6/f3/ 9
60 | 6.4 |  |  | 0 | t6/f4/ 0
|  |  |  | 1 | t6/f4/ 1
|  |  |  | 2 | t6/f4/ 2
|  |  |  | 3 | t6/f4/ 3
|  |  |  | 4 | t6/f4/ 4
|  |  |  | 5 | t6/f4/ 5
|  |  |  | 6 | t6/f4/ 6
|  |  |  | 7 | t6/f4/ 7
|  |  |  | 8 | t6/f4/ 8
|  |  |  | 9 | t6/f4/ 9
70 | 0.8 |  |  | 0 | t7/f0/ 0
|  |  |  | 1 | t7/f0/ 1
|  |  |  | 2 | t7/f0/ 2
|  |  |  | 3 | t7/f0/ 3
|  |  |  | 4 | t7/f0/ 4
|  |  |  | 5 | t7/f0/ 5
|  |  |  | 6 | t7/f0/ 6
|  |  |  | 7 | t7/f0/ 7
|  |  |  | 8 | t7/f0/ 8
|  |  |  | 9 | t7/f0/ 9
70 | 1 |  |  | 0 | t7/f1/ 0
|  |  |  | 1 | t7/f1/ 1
|  |  |  | 2 | t7/f1/ 2
|  |  |  | 3 | t7/f1/ 3
|  |  |  | 4 | t7/f1/ 4
|  |  |  | 5 | t7/f1/ 5
|  |  |  | 6 | t7/f1/ 6
|  |  |  | 7 | t7/f1/ 7
|  |  |  | 8 | t7/f1/ 8
|  |  |  | 9 | t7/f1/ 9
70 | 1.6 |  |  | 0 | t7/f2/ 0
|  |  |  | 1 | t7/f2/ 1
|  |  |  | 2 | t7/f2/ 2
|  |  |  | 3 | t7/f2/ 3
|  |  |  | 4 | t7/f2/ 4
|  |  |  | 5 | t7/f2/ 5
|  |  |  | 6 | t7/f2/ 6
|  |  |  | 7 | t7/f2/ 7
|  |  |  | 8 | t7/f2/ 8
|  |  |  | 9 | t7/f2/ 9
70 | 3.2 |  |  | 0 | t7/f3/ 0
|  |  |  | 1 | t7/f3/ 1
|  |  |  | 2 | t7/f3/ 2
|  |  |  | 3 | t7/f3/ 3
|  |  |  | 4 | t7/f3/ 4
|  |  |  | 5 | t7/f3/ 5
|  |  |  | 6 | t7/f3/ 6
|  |  |  | 7 | t7/f3/ 7
|  |  |  | 8 | t7/f3/ 8
|  |  |  | 9 | t7/f3/ 9
70 | 6.4 |  |  | 0 | t7/f4/ 0
|  |  |  | 1 | t7/f4/ 1
|  |  |  | 2 | t7/f4/ 2
|  |  |  | 3 | t7/f4/ 3
|  |  |  | 4 | t7/f4/ 4
|  |  |  | 5 | t7/f4/ 5
|  |  |  | 6 | t7/f4/ 6
|  |  |  | 7 | t7/f4/ 7
|  |  |  | 8 | t7/f4/ 8
|  |  |  | 9 | t7/f4/ 9
80 | 0.8 |  |  | 0 | t8/f0/ 0
|  |  |  | 1 | t8/f0/ 1
|  |  |  | 2 | t8/f0/ 2
|  |  |  | 3 | t8/f0/ 3
|  |  |  | 4 | t8/f0/ 4
|  |  |  | 5 | t8/f0/ 5
|  |  |  | 6 | t8/f0/ 6
|  |  |  | 7 | t8/f0/ 7
|  |  |  | 8 | t8/f0/ 8
|  |  |  | 9 | t8/f0/ 9
80 | 1 |  |  | 0 | t8/f1/ 0
|  |  |  | 1 | t8/f1/ 1
|  |  |  | 2 | t8/f1/ 2
|  |  |  | 3 | t8/f1/ 3
|  |  |  | 4 | t8/f1/ 4
|  |  |  | 5 | t8/f1/ 5
|  |  |  | 6 | t8/f1/ 6
|  |  |  | 7 | t8/f1/ 7
|  |  |  | 8 | t8/f1/ 8
|  |  |  | 9 | t8/f1/ 9
80 | 1.6 |  |  | 0 | t8/f2/ 0
|  |  |  | 1 | t8/f2/ 1
|  |  |  | 2 | t8/f2/ 2
|  |  |  | 3 | t8/f2/ 3
|  |  |  | 4 | t8/f2/ 4
|  |  |  | 5 | t8/f2/ 5
|  |  |  | 6 | t8/f2/ 6
|  |  |  | 7 | t8/f2/ 7
|  |  |  | 8 | t8/f2/ 8
|  |  |  | 9 | t8/f2/ 9
80 | 3.2 |  |  | 0 | t8/f3/ 0
|  |  |  | 1 | t8/f3/ 1
|  |  |  | 2 | t8/f3/ 2
|  |  |  | 3 | t8/f3/ 3
|  |  |  | 4 | t8/f3/ 4
|  |  |  | 5 | t8/f3/ 5
|  |  |  | 6 | t8/f3/ 6
|  |  |  | 7 | t8/f3/ 7
|  |  |  | 8 | t8/f3/ 8
|  |  |  | 9 | t8/f3/ 9
80 | 6.4 |  |  | 0 | t8/f4/ 0
|  |  |  | 1 | t8/f4/ 1
|  |  |  | 2 | t8/f4/ 2
|  |  |  | 3 | t8/f4/ 3
|  |  |  | 4 | t8/f4/ 4
|  |  |  | 5 | t8/f4/ 5
|  |  |  | 6 | t8/f4/ 6
|  |  |  | 7 | t8/f4/ 7
|  |  |  | 8 | t8/f4/ 8
|  |  |  | 9 | t8/f4/ 9
90 | 0.8 |  |  | 0 | t9/f0/ 0
|  |  |  | 1 | t9/f0/ 1
|  |  |  | 2 | t9/f0/ 2
|  |  |  | 3 | t9/f0/ 3
|  |  |  | 4 | t9/f0/ 4
|  |  |  | 5 | t9/f0/ 5
|  |  |  | 6 | t9/f0/ 6
|  |  |  | 7 | t9/f0/ 7
|  |  |  | 8 | t9/f0/ 8
|  |  |  | 9 | t9/f0/ 9
90 | 1 |  |  | 0 | t9/f1/ 0
|  |  |  | 1 | t9/f1/ 1
|  |  |  | 2 | t9/f1/ 2
|  |  |  | 3 | t9/f1/ 3
|  |  |  | 4 | t9/f1/ 4
|  |  |  | 5 | t9/f1/ 5
|  |  |  | 6 | t9/f1/ 6
|  |  |  | 7 | t9/f1/ 7
|  |  |  | 8 | t9/f1/ 8
|  |  |  | 9 | t9/f1/ 9
90 | 1.6 |  |  | 0 | t9/f2/ 0
|  |  |  | 1 | t9/f2/ 1
|  |  |  | 2 | t9/f2/ 2
|  |  |  | 3 | t9/f2/ 3
|  |  |  | 4 | t9/f2/ 4
|  |  |  | 5 | t9/f2/ 5
|  |  |  | 6 | t9/f2/ 6
|  |  |  | 7 | t9/f2/ 7
|  |  |  | 8 | t9/f2/ 8
|  |  |  | 9 | t9/f2/ 9
90 | 3.2 |  |  | 0 | t9/f3/ 0
|  |  |  | 1 | t9/f3/ 1
|  |  |  | 2 | t9/f3/ 2
|  |  |  | 3 | t9/f3/ 3
|  |  |  | 4 | t9/f3/ 4
|  |  |  | 5 | t9/f3/ 5
|  |  |  | 6 | t9/f3/ 6
|  |  |  | 7 | t9/f3/ 7
|  |  |  | 8 | t9/f3/ 8
|  |  |  | 9 | t9/f3/ 9
90 | 6.4 |  |  | 0 | t9/f4/ 0
|  |  |  | 1 | t9/f4/ 1
|  |  |  | 2 | t9/f4/ 2
|  |  |  | 3 | t9/f4/ 3
|  |  |  | 4 | t9/f4/ 4
|  |  |  | 5 | t9/f4/ 5
|  |  |  | 6 | t9/f4/ 6
|  |  |  | 7 | t9/f4/ 7
|  |  |  | 8 | t9/f4/ 8
|  |  |  | 9 | t9/f4/ 9
100 | 0.8 |  |  | 0 | t10/f0/ 0
|  |  |  | 1 | t10/f0/ 1
|  |  |  | 2 | t10/f0/ 2
|  |  |  | 3 | t10/f0/ 3
|  |  |  | 4 | t10/f0/ 4
|  |  |  | 5 | t10/f0/ 5
|  |  |  | 6 | t10/f0/ 6
|  |  |  | 7 | t10/f0/ 7
|  |  |  | 8 | t10/f0/ 8
|  |  |  | 9 | t10/f0/ 9
100 | 1 |  |  | 0 | t10/f1/ 0
|  |  |  | 1 | t10/f1/ 1
|  |  |  | 2 | t10/f1/ 2
|  |  |  | 3 | t10/f1/ 3
|  |  |  | 4 | t10/f1/ 4
|  |  |  | 5 | t10/f1/ 5
|  |  |  | 6 | t10/f1/ 6
|  |  |  | 7 | t10/f1/ 7
|  |  |  | 8 | t10/f1/ 8
|  |  |  | 9 | t10/f1/ 9
100 | 1.6 |  |  | 0 | t10/f2/ 0
|  |  |  | 1 | t10/f2/ 1
|  |  |  | 2 | t10/f2/ 2
|  |  |  | 3 | t10/f2/ 3
|  |  |  | 4 | t10/f2/ 4
|  |  |  | 5 | t10/f2/ 5
|  |  |  | 6 | t10/f2/ 6
|  |  |  | 7 | t10/f2/ 7
|  |  |  | 8 | t10/f2/ 8
|  |  |  | 9 | t10/f2/ 9
100 | 3.2 |  |  | 0 | t10/f3/ 0
|  |  |  | 1 | t10/f3/ 1
|  |  |  | 2 | t10/f3/ 2
|  |  |  | 3 | t10/f3/ 3
|  |  |  | 4 | t10/f3/ 4
|  |  |  | 5 | t10/f3/ 5
|  |  |  | 6 | t10/f3/ 6
|  |  |  | 7 | t10/f3/ 7
|  |  |  | 8 | t10/f3/ 8
|  |  |  | 9 | t10/f3/ 9
100 | 6.4 |  |  | 0 | t10/f4/ 0
|  |  |  | 1 | t10/f4/ 1
|  |  |  | 2 | t10/f4/ 2
|  |  |  | 3 | t10/f4/ 3
|  |  |  | 4 | t10/f4/ 4
|  |  |  | 5 | t10/f4/ 5
|  |  |  | 6 | t10/f4/ 6
|  |  |  | 7 | t10/f4/ 7
|  |  |  | 8 | t10/f4/ 8
|  |  |  | 9 | t10/f4/ 9